附件2

- 磺胺劑及奎諾酮類(48項)-乳品

- 檢測方法：衛福部食品藥物管理署102年9月6日部授食字第1021950329號公告修正檢驗方法食品中動物用藥殘留量檢驗方法-多重殘留分析(二)

- 定量極限：

- azaperol、azaperone、ciprofloxacin、clopidol、danofloxacin、dicyclanil、difloxacin、enrofloxacin、eprinomectin、ethopabate、fleroxacin、flumequine、lomefloxacin、marbofloxacin、morantel、nalidixic acid、norfloxacin、oxolinic acid、pefloxacin、 pipemidic acid、piromidic acid、succinylsulfathiazole、sulfabenzamide、sulfacetamide、sulfadiazine、sarafloxacin、sulfadimethoxine、sulfadoxine、sulfaethoxypyridazine、sulfaguanidine、sulfamerazine、sulfameter、sulfamethazine、sulfamethizole、sulfamethoxazole、sulfamethoxypyridazine、sulfamonomethoxine、sulfapyridine、sulfaquinoxaline、sulfathiazole、sulfachlorpyridazine、sulfatroxazole、tetramisole、trichlorfon、trimethoprim 等為 0.01 ppm。

- fluazuron、ormetoprim等為0.05 ppm。

- carazolol定量極限 0.002ppm。

- acetaminophen

- 檢測方法（參考文獻）：

- China, Sensitive liquid chromatography-tandem mass spectrometry method for the simultaneous determination of paracetamol and guaifenesin in human plasma. January 2005.

- Australia, Development of HPLC-MS/MS method for the selective determination of paracetamol metabolites in mouse urine. August 2007.

- United States, A tandem mass spectrometry assay for the simultaneous determination of acetaminophen, caffeine, phenytoin, ranitidine, and theophylline in small volume pediatric plasma specimens. 2008.

- 定量極限：經方法確校後為5.0 ppb

- 塑化劑

- 檢測方法：衛福部食品藥物管理署102年3月25日第二次公告修正食品中鄰苯二甲酸酯類塑化劑檢驗方法。

- 定量極限：